## Slide 1: Overview of Campus Energy Systems October 9, 2013

## Slide 2: Utilities & Energy Management

## Slide 3: Supply Side

## Slide 4: Energy Suppliers

## Slide 5: Energy Suppliers

## Slide 6: Energy Suppliers

## Slide 7: Energy Suppliers

## Slide 8: Energy Suppliers

## Slide 9: Other Renewable Fuels

## Slide 10: Solar, Wind & Geothermal

## Slide 11: Plant Operations

## Slide 12: Solid Fuel Boiler

## Slide 13: Boiler #10 – Stoker Boiler

## Slide 14: Boiler #11 – Fluidized Bed

## Slide 15: Turbine Generator

## Slide 16: Typical Utility System

## Slide 17: Cogeneration System

## Slide 18
Northwest Plant
Power Distribution West
Power Distribution East
Chilled Water Distribution
West
Substation U
161 kV
Substation L
69 kV
Across Campus Tie
West Chiller Plant
North Chiller Plant
Chilled Water Distribution East
University of Iowa Main Campus Utilities
UIHC
East Campus
West Campus
Steam Chillers (3)
Electric Chillers (8)
Steam Chiller (1)
Steam Chillers (3)
Electric Chillers (1)
Legend: Electrical Chilled Water
Steam Potable Water
8
10
11
Solid Fuel Boilers
Natural Gas Boilers
Steam Turbine Electric Generators
Steam Distribution West
Steam Distribution East
Water Treatment Plant
Potable Water Distribution
East
Potable Water Distribution
West
7
Main Power Plant
WCB 2
Natural Gas Boilers
WCB 1
Natural Gas Boiler
Natural Gas Engine Electric Generators

## Slide 19: Utilities & Energy Management

## Slide 20: Purchased Fuels

## Slide 21: Purchased Energy

## Slide 22: Distribution by Energy Content

## Slide 23: Utilities Enterprise Budget
Chart: 2013 Expenses for Main Campus and Oakdale $88,719,139
| Fuel | Transfered Utilities | O&M | R&I | Debt Service & Insurance
FY13 | 27666517 | 6791707 | 20255363 | 13968323 | 20037229

## Slide 24: Mid American Incentives

## Slide 25: Curtailment Response

## Slide 26
Chart: Main Campus Hourly Energy Consumption Rate Week of September 22, 2013

## Slide 27: Energy Use By Buildings FY2013
Bldg Name | EL MMBtu | ST (MMBTU) | CW (MMBtu) | TOTAL (MMBtu) | % of Total | Cumulative Total %
POMERANTZ FAMILY PAVILION | 73,525 | 89,233 | 86,060 | 248,818 | 9.45% | 9.45%
COLLOTON PAVILION | 80,539 | 41,358 | 117,127 | 239,024 | 9.08% | 18.54%
GENERAL HOSPITAL | 30,945 | 98,903 | 47,094 | 176,942 | 6.72% | 25.26%
BOWEN SCIENCE BUILDING | 35,359 | 91,797 | 42,950 | 170,106 | 6.46% | 31.72%
CARVER PAVILION | 49,287 | 39,504 | 59,853 | 148,643 | 5.65% | 37.37%
PAPPAJOHN PAVILION | 38,174 | 43,515 | 44,319 | 126,008 | 4.79% | 42.16%
MEDICAL EDUCATION RESEARCH FACILITY | 22,621 | 77,427 | 24,298 | 124,346 | 4.72% | 46.89%
MEDICAL LABORATORIES | 21,829 | 43,997 | 31,406 | 97,232 | 3.69% | 50.58%
50+% of Energy Use in 8 Buildings

## Slide 28
Bldg Name | EL MMBtu | ST (MMBTU) | CW (MMBtu) | TOTAL (MMBtu) | % of Total | Cumulative Total %
POMERANTZ FAMILY PAVILION | 73,525 | 89,233 | 86,060 | 248,818 | 9.45% | 9.45%
COLLOTON PAVILION | 80,539 | 41,358 | 117,127 | 239,024 | 9.08% | 18.54%
GENERAL HOSPITAL | 30,945 | 98,903 | 47,094 | 176,942 | 6.72% | 25.26%
BOWEN SCIENCE BUILDING | 35,359 | 91,797 | 42,950 | 170,106 | 6.46% | 31.72%
CARVER PAVILION | 49,287 | 39,504 | 59,853 | 148,643 | 5.65% | 37.37%
PAPPAJOHN PAVILION | 38,174 | 43,515 | 44,319 | 126,008 | 4.79% | 42.16%
MEDICAL EDUCATION RESEARCH FACILITY | 22,621 | 77,427 | 24,298 | 124,346 | 4.72% | 46.89%
MEDICAL LABORATORIES | 21,829 | 43,997 | 31,406 | 97,232 | 3.69% | 50.58%
PHARMACY BUILDING | 21,727 | 48,137 | 23,856 | 93,720 | 3.56% | 54.14%
DENTAL SCIENCE BUILDING | 15,387 | 52,671 | 22,710 | 90,767 | 3.45% | 57.59%
CHEMISTRY BUILDING | 27,611 | 28,992 | 31,326 | 87,929 | 3.34% | 60.93%
BOYD TOWER | 23,333 | 25,276 | 13,627 | 62,237 | 2.36% | 63.30%
LIBRARY (MAIN) | 17,943 | 20,685 | 23,553 | 62,181 | 2.36% | 65.66%
CARVER BIOMEDICAL RESEARCH BUILDING | 17,394 | 22,851 | 20,359 | 60,604 | 2.30% | 67.96%
SOUTH WING | 17,629 | 23,797 | 16,687 | 58,113 | 2.21% | 70.17%
IOWA ADVANCED TECHNOLOGY LABORATORIES | 13,557 | 19,320 | 17,227 | 50,104 | 1.90% | 72.07%
IOWA MEMORIAL UNION | 10,873 | 19,551 | 13,160 | 43,584 | 1.66% | 73.73%
SEAMANS CENTER | 14,203 | 16,251 | 10,630 | 41,084 | 1.56% | 75.29%
BIOLOGY BUILDING | 13,576 | 14,166 | 9,489 | 37,231 | 1.41% | 76.71%
ECKSTEIN MEDICAL RESEARCH BUILDING | 17,449 | 17,368 | 364 | 35,181 | 1.34% | 78.04%
LINDQUIST CENTER | 12,798 | 8,198 | 12,891 | 33,886 | 1.29% | 79.33%
UNIVERSITY CAPITOL CENTRE | 14,700 | 7,520 | 9,453 | 31,673 | 1.20% | 80.53%
80+% of Energy Use in 22 Buildings

## Slide 29
Chart: Total Energy Consumption By Building FY 2013
| POMERANTZ FAMILY PAVILION | COLLOTON PAVILION | GENERAL HOSPITAL | BOWEN SCIENCE BUILDING | CARVER PAVILION | PAPPAJOHN PAVILION | MEDICAL EDUCATION RESEARCH FACILITY | MEDICAL LABORATORIES | PHARMACY BUILDING | DENTAL SCIENCE BUILDING | CHEMISTRY BUILDING | BOYD TOWER | LIBRARY (MAIN) | CARVER BIOMEDICAL RESEARCH BUILDING | SOUTH WING | IOWA ADVANCED TECHNOLOGY LABORATORIES | IOWA MEMORIAL UNION | SEAMANS CENTER | BIOLOGY BUILDING | ECKSTEIN MEDICAL RESEARCH BUILDING | LINDQUIST CENTER | UNIVERSITY CAPITOL CENTRE | FIELD HOUSE | VAN ALLEN HALL | MEDICAL EDUCATION BUILDING | PAPPAJOHN BUSINESS BUILDING | BIOLOGY BUILDING EAST | MEDICAL RESEARCH CENTER | HARDIN LIBRARY FOR HEALTH SCIENCES | SCHAEFFER HALL | WESTLAWN | COLLEGE OF PUBLIC HEALTH BUILDING | TROWBRIDGE HALL | RECREATION BUILDING | BOYD LAW BUILDING | ADLER JOURNALISM AND MASS COMMUNICATION BUILDING | DEY HOUSE | SPENCE LABS | NURSING BUILDING | SEASHORE HALL | WENDELL JOHNSON SPEECH AND HEARING CENTER | JESSUP HALL | MACBRIDE HALL | THEATRE BUILDING | MACLEAN HALL | NORTH HALL | ART BUILDING WEST | PHILLIPS HALL | POMERANTZ CENTER | CAMPUS RECREATION AND WELLNESS CENTER | MEDICAL RESEARCH FACILITY | BLANK HONORS CENTER | ENGLISH-PHILOSOPHY BUILDING | CALVIN HALL | OLD CAPITOL | COLLEGE OF MEDICINE ADMINISTRATION BUILDING | HALSEY HALL | ART BUILDING | GILMORE HALL | BECKER COMMUNICATION STUDIES BUILDING
TOTAL (MMBtu) | 248817.5831 | 239023.6711 | 176942.3442 | 170106.1661 | 148643.456 | 126007.7734 | 124346.3187 | 97231.5923 | 93720.0736 | 90767.3689 | 87928.7565 | 62236.6937 | 62180.9771 | 60603.8762 | 58112.6913 | 50103.9498 | 43583.5322 | 41083.8321 | 37231.1221 | 35181.0244 | 33886.4352 | 31672.9499 | 30236.1359 | 25317.74 | 22439.6238 | 22435.3191 | 22396.8926 | 21297.0268 | 20075.3894 | 19231.499 | 18004.9371 | 16573.978 | 16062.756 | 15725.9055 | 15225.4925 | 13772.9895 | 13685.0909 | 13059.1217 | 12685.7486 | 12436.7763 | 12432.1566 | 11989.2547 | 11396.3414 | 10233.246 | 9778.3066 | 9203.236 | 9016.7579 | 8582.9879 | 8074.248 | 7927.9337 | 7925.1281 | 6313.7641 | 6217.6973 | 6008.2442 | 5446.236 | 5160.1526 | 4845.7345 | 4236.7145 | 4006.5831 | 3743.2155

## Slide 30: Top Energy Intensive Buildings
Bldg Name | TOTAL (MMBtu) | Total EUI Btu/ksf
PHARMACY BUILDING | 93,720 | 655.51
MEDICAL EDUCATION RESEARCH FACILITY | 124,346 | 537.96
BOWEN SCIENCE BUILDING | 170,106 | 453.55
CARVER BIOMEDICAL RESEARCH BUILDING | 60,604 | 444.17
MEDICAL LABORATORIES | 97,232 | 426.13
DENTAL SCIENCE BUILDING | 90,767 | 403.49
IOWA ADVANCED TECHNOLOGY LABORATORIES | 50,104 | 391.64
BIOLOGY BUILDING EAST | 22,397 | 359.23

## Slide 31: Energy Control Center